## Sheet1
No. | Name | Model | Manufacturer | Country
1 | sCMOS camera | ORCA-Flash 4.0 | Hamamatsu | Japan
2 | 405nm Laser | 06‑MLD | Cobolt | Sweden
3 | Lens | ACY254‑10‑A | Thorlabs | USA
4 | Lens | AC254‑150‑A | Thorlabs | USA
5 | Lens | ACY254‑100‑A | Thorlabs | USA
6 | Lens | AC254‑125‑A‑ML | Thorlabs | USA
7 | Dichroic mirror | T412lpxt | Chroma | USA
8 | Emission filter | FF01-536/40 | Semrock | USA
9 | Objective lens | XLFLUOR 4X/340 | Olympus | Japan
10 | Precision translation stage X | XML350-S | Newport | USA
11 | Precision translation stage Y | XML210-S | Newport | USA
12 | Precision translation stage Z | GTS70VCC | Newport | USA
13 | Sleeve-type spindle | F30-ER32 | FHG (Fenghe) | Taiwan, China
14 | Collet | ER32-20 | fahrion | Germany
15 | Servo motor | ASD-A2-1521-L | Delta | China
16 | Slide carriage | ST-100 | FHG (Fenghe) | Taiwan, China
17 | Carbide milling cutter (custom) | D30*20*D20*60 | Changcheng | China
18 | LN2 cryogenic tank (double-wall 316 SS) | Custom, vacuum insulated | Custom | China
19 | Pressurizing air pump (LN2 spray) | HAP-120 | Haili | China
20 | Insulated kettle (spray reservoir, 800 mL) | Custom | Custom | China
21 | Solenoid valve | Non-standard custom | Sichuan Zhonghuo | China
22 | Type T thermocouple | TT-T-36 | Jingdu | China
23 | Data acquisition module | DAM4501/DAM4502 | Xunyan Electronics | China
24 | Pneumatic solenoid valve (buffer tank) | Non-standard custom | Sichuan Zhonghuo | China
25 | Differential pressure level gauge | ALT-D | Beijing Longte | China
26 | LN2 Dewar flask | EC100 | Beinaji | China
27 | Cryogenic solenoid valve (Dewar refill) | Non-standard custom | Sichuan Zhonghuo | China
28 | Interchangeable nozzle (threaded) | Custom, max bore 10 mm | Custom | China
29 | Pressure sensor | Custom | Taobao | China
30 | Serial port server | USR-N6 | Zhibo Digital | China
31 | Network relay (IO control) | ZZ-IO1600 | Zhibo Digital | China